## Slide 1: Introduction to Image Analysis
Robert Haase, Benoit Lombardot
3D image visualisation
Contents
Reslicing
Projections
Viewers
Volume management

## Slide 2: Quiz
Which image shows a skeleton?

## Slide 3: Quiz
What does a rigid transformation consist of?
Rotation
Translation + Rotation
Translation + Rotation + Isometric scaling

## Slide 4: Quiz
What does the intensity of a pixel in a distance map represent?
0
6
Distance map
Mask
The distance of a white pixel in the mask to the closest black pixel in the mask.
Grey value image

## Slide 5: Quiz
What does the signal intensity in the image on the right numerate?
0
80
Signal intensity in the red channel
Number of other objects close by
Distance of the object to the nucleus

## Slide 6: Quiz
Which mask operation is visualised here?
Dilation
Erosion
Closing

## Slide 7: Quiz
When using the H-Watershed for object differentiation, what expresses the H-parameter?
Low H
High H
The threshold between object and background
The minimum height of a signal valley between two objects
The minimum area an object must have

## Slide 8: Quiz
What does this macro do with blobs.tif?

## Slide 9: Overview
Introduction
Open images (BioFormats)
Multiview Reconstruction (Demo)
Visualisation
  Reslicing
  Orthogonal views
  Anistropy, slice distance, slice thickness
  Sampling
  Projections
Viewers
  ImageJ 3D Viewer
  ClearVolume
  BigDataViewer
Volume management
  Manual segmentation
  3D projection
  Exercise
3D image visualisation

## Slide 10: Introduction
3D images are hard to handle,
because our screen is 2D.
Potential solutions
  Reslicing
  Projection
  Vectorization
But
  Dimension reduction = information loss!
  Results are produced for visualization, not for measurements!
3D image visualisation

## Slide 11: Introduction
ImageJ/Fiji were initially not made for 3D image processing, but...
3D image visualisation
http://fiji.sc/Z-functions
http://imagejdocu.tudor.lu/
doku.php?id=plugin:stacks:3d_ij_suite:start

## Slide 12: Troubleshooting: Open images
If an image stack does not appear as it should be (missing colours, wrong number of slices/frames/channels)…
3D image visualisation

## Slide 13: Open images: BioFormats
… consider using the BioFormats importer
File > Import > BioFormats
This also makes sense, if you try to open huge files.
3D image visualisation

## Slide 14: Open images: BioFormats
Configure the range of channels/slices/frames to actually load.
Channels
Slices
Time frames
More Information: http://www.openmicroscopy.org/site/products/bio-formats
3D image visualisation

## Slide 15: Overview
Introduction
Open images (BioFormats)
Multiview Reconstruction (Demo)
Visualisation
  Reslicing
  Orthogonal views
  Anistropy, slice distance, slice thickness
  Sampling
  Projections
Viewers
  ImageJ 3D Viewer
  ClearVolume
  BigDataViewer
Volume management
  Manual segmentation
  3D projection
  Exercise
3D image visualisation

## Slide 16: Multiview-Reconstruction
Principle of light-sheet microscopy
3D image visualisation
Image source: ZEISS Microscopy
Image source: https://sguenther.eu/science/light-sheet-microscopy/

## Slide 17: Multiview reconstruction
Before: Images from the microscope
3D image visualisation
Data source: http://fiji.sc/Multiview-Reconstruction
What transformation do we need to apply?
Translation
Rigid
Affine
After:

## Slide 18: Multiview reconstruction
3D image visualisation
Demo

## Slide 19: Multiview reconstruction
Plugins > Multiview Reconstruction > MultiView Reconstruction Application
3D image visualisation

## Slide 20: Multiview reconstruction
Enter filename with {a} as placeholder for the angle.
3D image visualisation

## Slide 21: Multiview reconstruction
If files are not found, the application will notify you.
3D image visualisation

## Slide 22: Multiview reconstruction
A list with all data sets will appear. Select all using SHIFT and the left mouse button.
3D image visualisation
Right-click on one and click Display in BigDataViewer

## Slide 23: Multiview reconstruction
Detect interest Points…
3D image visualisation

## Slide 24: Multiview reconstruction
After that, Interest Points are available.
3D image visualisation

## Slide 25: Multiview reconstruction
Register using Interest Points…
3D image visualisation

## Slide 26: Multiview reconstruction
After registration finished, the view looks much better…
3D image visualisation

## Slide 27: Multiview reconstruction
Image Fusion
3D image visualisation

## Slide 28: Multiview reconstruction
Press SHIFT + X
3D image visualisation
Press SHIFT + Z

## Slide 29: Multiview reconstruction
Choose 16bit unsigned integer if you want to spare some space
3D image visualisation

## Slide 30: Multiview reconstruction
Image > Stacks > Reslice [/]…
3D image visualisation

## Slide 31
Coffee break?

## Slide 32: Overview
Introduction
Open images (BioFormats)
Multiview Reconstruction (Demo)
Visualisation
  Reslicing
  Orthogonal views
  Anistropy, slice distance, slice thickness
  Sampling
  Projections
Viewers
  ImageJ 3D Viewer
  ClearVolume
  BigDataViewer
Volume management
  Manual segmentation
  3D projection
  Exercise
3D image visualisation

## Slide 33: Reslicing
Image > Stacks > Reslice [/]…
3D image visualisation

## Slide 34: Reslicing
Image > Stacks > Dynamic reslice
3D image visualisation
Move the yellow line by dragging its centre point.
This also works with segmented lines
If the result appears strange try to split channels first!

## Slide 35: Orthogonal views
Image > Stacks > Orthogonal Views
3D image visualisation
Move the yellow cross by dragging its centre point.

## Slide 36: Anisotropy
An-iso-tropy, from Greek:
  ἀν- (not)
  ἴσος isos (equal)
  τρόπος tropos (rotation, direction)
Not the same in any direction
Usually in 3D image processing:
Image analysts love to have isotropic voxels, but it’s often not possible.
3D image visualisation

## Slide 37: Anisotropy
Voxel size has immediate impact on image quality and thus, on processing / analysis results.
3D image visualisation
1:1
250 x 250 px
1:2
250 x 125 px
1:5
250 x 50 px
1:10
250 x 25 px

## Slide 38: Slice distance versus slice thickness
3D image visualisation
What you see when processing 3D images:
What you may have measured using microscopy:
Slice distance and slice thickness may be different, but
many image processing tools ignore that!

## Slide 39: Exercise: Optimal voxel size in Z
Depending on the voxel size in Z direction, objects may be differentiable, or not.
Exercise
Open the images in the zResolution folder
Use the tools
  Image > Color > Split channels,
  Image > Stacks > Reslice [/],
  Image > Stacks > Dynamic Reslice and
  Image > Stacks > Orthogonal Views
  to determine the image with optimal voxel size.
3D image visualisation
Image source: Elena Gromberg, Tanaka Group, CRTD Dresden
Leave out

## Slide 40: Nyquist–Shannon sampling theorem
Voxel size in Z-dimension should at least be half the size of the object you are interested in (even better: a third).
Further reading: https://en.wikipedia.org/wiki/Nyquist-Shannon_sampling_theorem
Measure the size of a gap between cells, e.g. in a highly resolved 2D-image.
3D image visualisation
Image source: Elena Gromberg, Tanaka Group, CRTD Dresden

## Slide 41
Claude Shannon was the first who built the “Ultimate machine”, based on an idea by Marvin Minsky.
3D image visualisation
Source: http://gifsoup.com/view/4292482/shannon-s-ultimate-machine.html
Claude E. Shannon – the father of information theory

## Slide 42: Quiz
We took this 2D image of our sample and did some distance measurements. Now we would like to go for 3D imaging. What would be a good slice distance configuration?
3D image visualisation
Image source: Jaydeep Sidhaye, Norden lab, MPI CBG

## Slide 43: Projections
Image > Stacks > Reslice [/]...
Image > Stacks > Z-Project...
3D image visualisation
Data source: University of North Carolina Volume Rendering Test Data Set, downloaded from https://graphics.stanford.edu/data/voldata/

## Slide 44: Projections
In some cases, maximum projections make more sense...
3D image visualisation
Image source: Akanksha Jain, Tomancak lab, MPI CBG

## Slide 45: Overview
Introduction
Open images (BioFormats)
Multiview Reconstruction (Demo)
Visualisation
  Reslicing
  Orthogonal views
  Anistropy, slice distance, slice thickness
  Sampling
  Projections
Viewers
  ImageJ 3D Viewer
  ClearVolume
  BigDataViewer
Volume management
  Manual segmentation
  3D projection
  Exercise
3D image visualisation

## Slide 46: ImageJ 3D Viewer
[Menu Image > Color > Split channels]
Menu Plugins > 3D Viewer
Menu Add > From image
3D image visualisation

## Slide 47: ImageJ 3D Viewer
Click and move the mouse to turn perspective. This depends on where you click!
Hold the SHIFT key while moving to move the view in plane
Use the mouse wheel to zoom in
3D image visualisation

## Slide 48: ClearVolume
Menu Plugins > ClearVolume > Open In ClearVolume
3D image visualisation

## Slide 49: ClearVolume
Hint: If you want to improve colour visualisation (LUT) change the type of image to RGB Color, before you open ClearVolume
3D image visualisation

## Slide 50: Short excurse: ImageJ/FIJI community
How to report about a bug in the right way:
  What software do you use?
  What file did you work on?
  Where did you click?
  What was the error message?
  Be kind!
You may get feedback quite soon (in this case after 20 minutes).
3D image visualisation

## Slide 51: BigDataViewer
Menu Plugins > Big Data Viewer > Open Current Image
3D image visualisation

## Slide 52: Exercise: Manual Counting
Open “Spheroid.tif”
Use the viewers
  Plugins
    BigDataViewer
    3D Viewer
    ClearVolume
How many cells express the green marker?
3D image visualisation
18 big ones, 4-5 very small ones
Image source: Elena Gromberg, Tanaka Group, CRTD Dresden

## Slide 53: Overview
Introduction
Open images (BioFormats)
Multiview Reconstruction (Demo)
Visualisation
  Reslicing
  Orthogonal views
  Anistropy, slice distance, slice thickness
  Sampling
  Projections
Viewers
  ImageJ 3D Viewer
  ClearVolume
  BigDataViewer
Volume management
  Manual segmentation
  3D projection
  Exercise
3D image visualisation

## Slide 54: Volume management
Volume manager tool for 3D region management
Goal:
  Outlining,
  managing,
  measuring,
  visualisation of 3D objects
Vectorisation (Discrete voxel data -> continuous vector data)
Developed in our facility
  Feedback on usability very welcome!
3D image visualisation

## Slide 55: Manual segmentation
SCF > Segmentation > Volume Manager
3D image visualisation

## Slide 56: Manual segmentation: Polygon tool
Outline using the polygon tool along the edge of the structure to outline.
Double-click when finished.
pro: outlining is fast
con: outline may appear jerky
3D image visualisation

## Slide 57: Manual segmentation: the Brush tool
3D image visualisation
Outline using the brush tool by painting the whole volume
pro: outline appears smooth
con: outlining may take a bit longer

## Slide 58: Manual segmentation: the Brush tool
ADD pixels to an ROI:
Approach it from inside
Alternatively: hold SHIFT
3D image visualisation
Image source: Daniela Vorkel, EM facility, MPI CBG
+
+
ROI

## Slide 59: Manual segmentation: the Brush tool
REMOVE pixels from an ROI:
Approach it from outside
Alternatively: hold ALT
3D image visualisation
Image source: Daniela Vorkel, EM facility, MPI CBG
+
+
ROI

## Slide 60: Manual segmentation: the Brush tool
Hold the CMDMacOS / CTRLWindows/Linux key to change the size of the brush
3D image visualisation
+
+
+
Hold CMD + click
Image source: Daniela Vorkel, EM facility.
ROI

## Slide 61: Manual segmentation
outline in one slice
outline in another slice
Intermediate slices will be outlined/interpolated automatically (dotted line)
Correct interpolated slices until the whole volume appears correctly outlined.
3D image visualisation

## Slide 62: Manual segmentation
outline in one slice
outline in another slice
interpolated slice (dotted line)
3D image visualisation
Key slices
Switch between key slices, create and delete them

## Slide 63: Naming objects
Consider naming objects, e.g. if they correspond to anatomical structures.
3D image visualisation

## Slide 64: 3D Projection
Menu Edit > Colors > Set random colors to all volumes
3D image visualisation
Menu File > Export > Send surfaces to 3D viewer

## Slide 65: 3D Viewer
Click and move the mouse to turn perspective. This depends on where you click!
Hold the SHIFT key while moving to move the view in plane
Use the mouse wheel to zoom in
3D image visualisation

## Slide 66: Pitfalls: Volume manager
Separate objects should be outlined as separate objects
3D image visualisation

## Slide 67: Exercise: 3D visualisation
Outline the optical cup of the zebrafish in the image files
  Optical_cup1.tif
  Optical_cup2.tif
Use the polygon tool
Use the brush tool
  Press ALT, SHIFT and CMD/CTRL to test its functionalities.
Visualise thesurface in 3D
3D image visualisation
Image source: Jaydeep Sidhaye, Norden lab

## Slide 68: Exercise solution
3D image visualisation
Optical_cup1.tif
Optical_cup2.tif
Image source: Jaydeep Sidhaye, Norden lab

## Slide 69: Summary
3D image visualisation
Multiview reconstruction
Manual 3D outlining & visualisation
Picking the right imaging parameters